## Blank Cost Template
Salton Sea Water Importation Project
Engineers Opinion of Probable Costs - TEMPLATE
Annualized Capital Cost calculation =
Proposer: | Cordoba Corporation |  |  | Prepared By: | Cordoba Corporation |  | Capital x (i x ( (i+1)n )
Project Name: | Salton Sea Water Importation Project |  |  | Date Prepared: | 2021-10-12 |  | Cost ( 1 + i )n -1
Importation Supply: | Sea of Cortez |  |  | 2018 Proposal ENR | (if applicable) |  | interest (i) = | 4%
Estimate: | Conceptual Level Cost-Analysis |  |  | 2021 Proposal ENR |  |  | Project or Facility life (n) =
Item |  |  |  | Total Costs |  | Est Facility Life | Annualized Capital Cost
No. | Description | Qty | Units | $/Unit | Capital Cost |  |  | Notes/Source
Facility Capital Costs
1 | Treatment |  |  |  | 1200000000 | 30 | 69396118.9604
1.1 | Desalination (process) | 150 | MGD |  | 1200000000 |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
1.2 | Other |  | MGD |  | 0
1.3 | Building |  | SF |  | 0 |  |  | Included in the Desalination cost.
2 | Pipelines and/or Canals |  |  |  | 3499161600 | 100 | 142793786.7048 | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
2.1 | Source to Salton Sea | 728640 | LF | 4800 | 3497472000 |  |  | Duo pipe - 96" | in-diameter
2.2 | Brine line from Salton Sea to … | 2640 | LF | 640 | 1689600 |  |  | Pipe 45" | in-diameter
2.3 | Other? |  | LF |  | 0 |  |  |  | in-diameter
3 | Pump Stations |  |  |  | 500000000 | 50 | 23275100.2248 | Define as appropriate, use units and add notes as you see fit
3.1 | Source to Salton Sea | 1 | LS | 500000000 | 500000000 |  |  | 352,000 GPM | flow (gpm) | 1000 | ft (TDH)
3.2 | Brine line from Salton Sea to …(sea item 1.1) |  | LS |  | 0
3.3 | Other? |  | LS |  | 0
3 | Intake Facility (included in item No. 3.1) |  |  |  | 0 | 75 | 0 | Define as appropriate, use units and add notes as you see fit
3.1 |  |  | LS |  | 0
4 | Discharge Facility (Sea item 1.0) |  |  |  | 0 | 75 | 0 | Define as appropriate, use units and add notes as you see fit
4.1 |  |  | LS |  | 0
5 | Storage |  |  |  | 150000 | 75 | 6334.3502 | Define as appropriate, use units and add notes as you see fit
5.1 | Pond, tank, etc drying |  | LS |  | 150000 |  |  | Assumed two acres.
6 | Wells |  |  |  | 0 | 50 | 0 | Define as appropriate, use units and add notes as you see fit
6.1 | Extraction Well |  | LS |  | 0 |  |  | TBD
7 | Other Infrastructure |  |  |  | 0 | 50 | 0 | Define as appropriate, use units and add notes as you see fit
7.1 | Hydropower |  | LS |  | 0 |  |  | TBD
7.2 | Geothermal |  | LS |  | 0 |  |  | TBD
7.3 | Other |  | LS |  | 0
7.4 | Other |  | LS |  | 0
8 | Costs NOT Included | [6 empty] | Define and large ticket items that are not included in cost estimate
8.1 | Land Ownership | 52800000 | SF | 4 | 211200000 |  |  | e.g. Information not available, further study needed
8.2 | Other | [6 empty] | TBD
8.3 | Other
| Subtotal Facility Costs |  | 250000 |  | 5199311600 |  | 235471340.2402
Additional Facility Capital Costs | [7 empty] | These are example %s and notes, define as-approriate and modify as you see fit
| Site Development Costs | @ | 0% |  | 0 |  | 0 | % of Subtotal treatment, pump station, storage, facility and well costs (not incl. pipelines)
| Yard Piping | @ | 0% |  | 0 |  | 0 | % of Subtotal treatment, pump station, storage, facility and well costs (not incl. pipelines)
| Electrical, I&C, and Remote Control | @ | 0% |  | 0 |  | 0 | % of Subtotal treatment, pump station, storage, facility and well costs (not incl. pipelines)
| Subtotal Additional Facility Costs |  |  |  | 0 |  | 0
|  |  | Facility Direct Costs |  | 5199311600 |  | 235471340.2402 | These are example %s and notes, define as-approriate and modify as you see fit
| Taxes | @ | 0% |  | 0 |  | 0 | apply taxes to | 40% | of the Facility Direct Costs (not. Incl Site Development)
| Mobilization/Bonds/Permits | @ | 0% |  | 0 |  | 0 | % of Facility Direct Costs
| Engineering and Design | @ | 6% |  | 311958696 |  | 14128280.4144 | % of Facility Direct Costs
| Special Studies | @ | 0% |  | 0 |  | 0 | % of Facility Direct Costs
| Construction Management | @ | 4% |  | 207972464 |  | 9418853.6096 | % of Facility Direct Costs
| Owner's Administration | @ | 3% |  | 155979348 |  | 7064140.2072 | % of Facility Direct Costs
| Environmental/Permitting | @ | 2% |  | 103986232 |  | 4709426.8048 | % of Facility Direct Costs
| Contractor Overhead & Profit | @ | 0% |  | 0 |  | 0 | % of Facility Direct Costs
| Estimate Contingency | @ | 0% |  | 0 |  | 0 | % of Facility Direct Costs
| Subtotal with Contractor Markups and Contingency |  |  |  | 779896740 |  | 270792041.2762
Update schedule to reflect anticipated start and end of construction
| Escalation to Midpoint of Construction | @ | 0% |  | 0 |  | 0 | assume | 2% | percent over | 11.5
[8 empty] | construction start = | 2030 | end = | 2035 | *example dates - to be revised by proponent
|  |  | Project Capital Cost Total |  | 779896740
|  |  | Annualized Capital Cost ($mil/year) |  |  |  | 270792041.2762
Annual Operations and Maintenance Costs
Item |  |  |  | Total Annual Costs
No. | Description | Qty | Units | $/Unit | Total
1 | Energy Costs |  |  |  |  | Define as appropriate, use units, %s and add notes as you see fit, lump sum (LS) is acceptable
1.1 | Energy - Treatment |  | KWh |  | 0 | e.g. Process Operation = |  |  | hours per day or per year
1.2 | Energy - Pumping |  | KWh |  | 0 | e.g. Pump Station Hp = |  |  | Total Motor HP required for duty pumps
1.3 | Energy - Other | @ | 5% |  | 0 | e.g. Assum % of above energy requirements
2 | Labor Costs |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
2.1 | Labor - Treatment |  | staff |  | 1200000 | full time staff at |  |  | average salary + benefits per year
2.2 | Labor - Other |  | staff |  | 0 | full time staff at |  |  | average salary + benefits per year
3 | Maintenance, Repair and Replacement |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
3.1 | Treatment Equipment |  |  |  |  | TBD
3.2 | Other Infrastructure |  |  |  |  | TBD
4 | Chemicals |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
5 | Contingency | @ | 10% |  | 120000 | e.g. % of above O&M costs
|  |  | Annual O&M Costs ($/year) |  | 1320000
Annual REVENUES
Item |  |  |  | Total Annual Costs
No. | Description | Qty | Units | $/Unit | Total
1 | Hydropower |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
2 | Geothermal |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
3 | Salt Sales |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
4 | Resource Recovery |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
5 | Solar/Solar Ponds |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
6 | Wind |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
7 | Other
|  |  | Annual Revenuse ($/year) |  | 0