## WISER Concept A
Salton Sea Water Importation Project
Engineers Opinion of Probable Costs - TEMPLATE
Annualized Capital Cost calculation =
Proposer: | Sephton Water Technology, Inc. |  |  | Prepared By: | Tom Sephton |  | Capital x (i x ( (i+1)n )
Project Name: | Water Import Salt Extraction Revenue |  |  | Date Prepared: | 2021-09-12 |  | Cost ( 1 + i )n -1
Importation Supply: | Sea of Cortez |  |  | 2018 Proposal ENR | (if applicable) |  | interest (i) = | 4%
Estimate: | Conceptual Level Cost-Analysis |  |  | 2021 Proposal ENR |  |  | Project or Facility life (n) =
Item |  |  |  | Total Costs |  | Est Facility Life | Annualized Capital Cost
No. | Description | Qty | Units | $/Unit | Capital Cost |  |  | Notes/Source
Facility Capital Costs
1 | Treatment |  |  |  | 1101318463.48 | 30 | 63689355.9208
1.1 | Desalination (process) | 240 | MGD | 1278910.2645 | 306938463.48 |  |  | 12 VTE-MED 20 MGD each $51,156,411
1.2 | Other | 288 | MGD | 2750000 | 792000000 |  |  | 48 UF/NF ion separation 6 MGD each $16,500,000
1.3 | Building | 10000 | SF | 238 | 2380000 |  |  | Office, Control Rooms, Storage, Maintenance Shops
2 | Pipelines and/or Canals |  |  |  | 744080462.4 | 100 | 30364435.5377 | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
2.1 | Source to Salton Sea | 862752 | LF | 862.45 | 744080462.4 |  |  | Canal lined with marine concrete, sized as lined Coachella Canal, 1,300 CFS or 941,157 AFY capacity
2.2 | Brine line from Salton Sea to … | 0 | LF |  | 0 |  |  |  | in-diameter
2.3 | Other? |  | LF |  | 0 |  |  |  | in-diameter
3 | Pump Stations |  |  |  | 118226862.54 | 50 | 5503484.1498 | Archimedes screw pumps
3.1 | Source to Salton Sea | 30 | LS | 3940895.418 | 118226862.54 |  |  | 633599.17 | flow (gpm) | 305 | ft (TDH)
3.2 | Brine line from Salton Sea to … | 0 | LS |  | 0
3.3 | Other? |  | LS |  | 0
3 | Intake Facility |  |  |  | 0 | 75 | 0 | Define as appropriate, use units and add notes as you see fit
3.1 | Sea of Cortez tidal gates and slow sand filter ponds |  | LS | 232840217 | 0
3.2 | Submerged filtered treatment plant intakes in Salton Sea |  | LS | 3063375.36 | 0
4 | Discharge Facility |  |  |  | 0 | 75 | 0 | Define as appropriate, use units and add notes as you see fit
4.1 | Ocean water discharge into Salton Sea or habitat |  | LS | 114878.72 | 0
5 | Storage |  |  |  | 534048826.752 | 30 | 30884096.5933 | Define as appropriate, use units and add notes as you see fit
5.1 | Salinity gradient solar ponds | 5.04 | LS | 105962068.8 | 534048826.752 |  |  | Cost per setion (640 acres) includes pond construction and lining, and all equipment
6 | Wells |  |  |  | 0 | 50 | 0 | Define as appropriate, use units and add notes as you see fit
6.1 | Extraction Well |  | LS |  | 0
7 | Other Infrastructure |  |  |  | 384107988.14 | 50 | 17880303.8422 | Define as appropriate, use units and add notes as you see fit
7.1 | Hydropower | 49 | LS | 3061387.63 | 150007993.87 |  |  | 49 Archimedes screw hydroturbines with 10 ft of drop each spaced from apex to Salton Sea
7.2 | Geothermal |  | LS |  | 0
7.3 | Solar salt evaporation ponds | 444 | LS | 276608.81 | 122814311.64 |  |  | Evaporation ponds for producing solar salt, cost per acre
7.4 | Solar salt evaporation ponds at solar ponds | 23 | LS | 276608.81 | 6362002.63 |  |  | Evaporation ponds for producing solar salt adjacent to salinity gradient solar ponds, cost per acre
7.5 | Vaccum pan salt refining plants | 48 | LS | 2185910 | 104923680
8 | Costs NOT Included | [6 empty] | Define and large ticket items that are not included in cost estimate
8.1 | Land Ownership | [6 empty] | e.g. Information not available, further study needed
8.2 | Geothermal development | [7 empty] | The project will pay existing geothermal devlopers a quoted price of $0.0045 per lb/hr for geothermal steam as an operating cost
8.3 | Other
| Subtotal Facility Costs |  |  |  | 2881782603.312 |  | 148321676.0437
Additional Facility Capital Costs | [7 empty] | These are example %s and notes, define as-approriate and modify as you see fit
| Site Development Costs | @ | 5% |  | -599991332.2344 |  | 7416083.8022 | % of Subtotal treatment, pump station, storage, facility and well costs (not incl. pipelines)
| Yard Piping | @ | 5% |  | -599991332.2344 |  | 7416083.8022 | % of Subtotal treatment, pump station, storage, facility and well costs (not incl. pipelines)
| Electrical, I&C, and Remote Control | @ | 20% |  | -167723941.7376 |  | 29664335.2087 | % of Subtotal treatment, pump station, storage, facility and well costs (not incl. pipelines)
| Subtotal Additional Facility Costs |  |  |  | -1367706606.2064 |  | 44496502.8131
|  |  | Facility Direct Costs |  | 1514075997.1056 |  | 192818178.8568 | These are example %s and notes, define as-approriate and modify as you see fit
| Taxes | @ | 7.75% |  | 65536087.2095 |  | 5747464.9467 | apply taxes to | 40% | of the Facility Direct Costs (not. Incl Site Development)
| Mobilization/Bonds/Permits | @ | 5% |  | 75703799.8553 |  | 9640908.9428 | % of Facility Direct Costs
| Engineering and Design | @ | 10% |  | 151407599.7106 |  | 19281817.8857 | % of Facility Direct Costs
| Special Studies | @ | 20% |  | 302815199.4211 |  | 38563635.7714 | % of Facility Direct Costs
| Construction Management | @ | 15% |  | 227111399.5658 |  | 28922726.8285 | % of Facility Direct Costs
| Owner's Administration | @ | 15% |  | 227111399.5658 |  | 28922726.8285 | % of Facility Direct Costs
| Environmental/Permitting | @ | 5% |  | 75703799.8553 |  | 9640908.9428 | % of Facility Direct Costs
| Contractor Overhead & Profit | @ | 15% |  | 227111399.5658 |  | 28922726.8285 | % of Facility Direct Costs
| Estimate Contingency | @ | 40% |  | 605630398.8422 |  | 77127271.5427 | % of Facility Direct Costs
| Subtotal with Contractor Markups and Contingency |  |  |  | 3472207080.6971 |  | 439588367.3745
Update schedule to reflect anticipated start and end of construction
| Escalation to Midpoint of Construction | @ | 16% |  | 555553132.9115 |  | 70334138.7799 | assume | 2% | percent over | 8
[8 empty] | construction start = | 2026 | end = | 2032 | *example dates - to be revised by proponent
|  |  | Project Capital Cost Total |  | 4027760213.6087
|  |  | Annualized Capital Cost ($mil/year) |  |  |  | 509922506.1544
Annual Operations and Maintenance Costs
Item |  |  |  | Total Annual Costs
No. | Description | Qty | Units | $/Unit | Total
1 | Energy Costs |  |  |  |  | Define as appropriate, use units, %s and add notes as you see fit, lump sum (LS) is acceptable
1.1 | Energy - Treatment distillation (electrical) | 157685256 | KWh | 0.085 | 13403246.76 | e.g. Process Operation = VTE-MED pumping |  |  | hours per year
1.2 | Energy - Treatment distillation (high temperature thermal) | 2928711528 | KWht | 0.09206 | 269617183.2677 | e.g. Process Operation = VTE-MED geothermal steam |  |  | hours per year using 120,000 lb/hr per plant at equivalent electrical cost
1.3 | Energy - Treatment ion separation (electrical) | 439401600 | KWh | 0.085 | 37349136 | e.g. Process Operation = Pumping power for UF/NF plants |  |  | hours per year
1.4 | Energy - Salt Refinery (electrical) | 187239174.6 | KWh | 0.085 | 15915329.841 | e.g. Process Operation = Pumping power for UF/NF plants |  |  | hours per year
1.5 | Energy - Salt refinery (low temperature thermal) | 1479705360.12 | KWht | 0.01278 | 18910634.5023 | e.g. Process Operation = Salt refining geothermal AFT steam |  |  | hours per year using geothermal AFT steam at $/BTU/hr cost
1.6 | Energy - Other | @ | 5% |  | 0 | e.g. Assum % of above energy requirements
2 | Labor Costs |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
2.1 | Labor - Treatment ion separation and distillation | 48 | staff | 412000 | 19776000 | full time staff at |  |  | average salary + benefits per year
2.2 | Labor - Salt refineries | 48 | staff | 1750000 | 84000000 | full time staff at |  |  | average salary + benefits per year
3 | Maintenance, Repair and Replacement |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
3.1 | Treatment Equipment distillation | 12 |  | 146000 | 1752000 | Maintenance supplies per plant per year
3.2 | Treatment Equipment ion separation | 48 |  | 46107.73 | 2213171.04 | Maintenance supplies per plant per year
3.2 | Other Infrastructure
4 | Chemicals | 12 |  | 438000 | 5256000 | Chemicals per distillation plant
5 | Contingency | @ | 10% |  | 46819270.1411 | e.g. % of above O&M costs
|  |  | Annual O&M Costs ($/year) |  | 515011971.5521
Annual REVENUES
Item |  |  |  | Total Annual Costs
No. | Description | Qty | Units | $/Unit | Total
1 | Hydropower | 367166640 | KWh | 0.09 | 33044997.6 | 44.12 MW of hydro generation capacity from 491 feet of net drop
2 | Geothermal |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
3 | Salt Sales
3.1 | Solar salt sales | 2052787 | metric ton | 100 | 205278700 | Sales of solar salt based on metric tons produced from 12 VTE-MED plants plus solar ponds using domestic market trendline price of $100 per tonne
3.1 | Refined salt sales | 4161000 | metric ton | 200 | 832200000 | Sales of refined salt based on metric tons produced from 12 VTE-MED plants and 48 refineries, domestic market trendline price of $1200 per tonne
4 | Resource Recovery |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
5 | Solar/Solar Ponds | 413914 | MWh | 74 | 30629636 | Power sold to grid or for project needs generated nnually by salinity gradient solar ponds using baseload seasonal average
6 | Wind |  |  |  |  | Define as appropriate, use units and add notes as you see fit, lump sum (LS) is acceptable
7 | Other
|  |  | Annual Revenuse ($/year) |  | 1101153333.6